## Slide 1: Aktivní prvky Juniper v kontextu budování regionálních a metropolitních sítí
Petr Vejmělek
červen 2011

## Slide 2: Úvod
Tři úrovně elektronizace veřejné správy – Smart Administration
  Centrální ( ČR ) – KIVS – CMS a ITS-NGN
  Regionální ( kraje ) – RAN – regional area network
      ( RowaNET, CamelNET, KI ZK, KI KV…)
  Metropolitní sítě (ORP a další) – jednotlivé organizace
  ( Knihovny, Školy, IZS, … )
  - Karviná, Opava, Jihlava, ….
Co mají společné ?
  Mají své hranice – definují předávací rozhraní a místo, kde dochází k předání a garanci služeb
  Hrají především transportní úlohu – at chcete nebo nechcete, stavíte ISP prostředí

## Slide 3: ISP prostředí … není LAN
Transportní sítě – úloha a vlastnosti
  Transportovat a doručit bezpečně aplikace z jednoho hraničního rozhraní na druhé v požadované kapacitě a s garantovanou úrovní kvality
  …ostatní hraniční sítě nezajímá, jak to uděláte 
  Používají jinou architekturu, požadují rozdílné vlastnosti v odlišných stupních topologie
  Prvky tvořící transportní síť jsou koncipovány na jiné provozní vlastnosti ( teplota, redundance, napájení (AC/DC), vyměnitelné větráky, zabezpečení konfigurace …apod.)

## Slide 4: Aktivní prvky trasnportních sítí
Než začnu vybírat…
  Jaká je fyzická topologie?
    Často nejde ovlivnit…
  Jaké jsou požadavky na dostupnost?
    …pozor na zbytečné navyšování ceny!
  Co se bude přenášet (charakter dat)?
    Zaškatulkování aplikací….včetně „servisních“ ( netflow, monitoring,…apod)
    Nutno ujasnit L2 a L3 mechanismy … co potřebuji
  Jaké jsou typy organizací? ( zákazníků )
    Zaškatulkování = 3-4 profily….
    Profil charakterizuje klíčové očekávání o „bezpečnosti“, „dostupnosti“ a „kvalitě“
  Jaká bude dynamika rozvoje?
  Jak bude zajištěn provoz?

## Slide 5: Komunikační model …

## Slide 6: Hierarchie síťových uzlů
Core->Agregace->Přístupové body->Organizace

## Slide 7: Hierarchie síťových uzlů
Core->Agregace->Organizace

## Slide 8: Managed vs Unmanaged CE
Policing + Marking na vstupnom porte PE
Pakety nad dohodnutú prenosovú rýchlosť sú zahadzované
Obtiažne zabezpečiť kvalitu služby pre špecifické typy prenosu
Shaping + Marking na výstupnom porte CE
Možnosť použitia hierarchických QoS a klasifikácie na základe aplikácie (NBAR)
PE sa môže rozhodovať na základe DSCP/CoS značiek od CE

## Slide 9: L3 VPN – příklad „aplikace“ v transportních sítích
VPN A
Site 1
VPN A
Site2
VPN B
Site1
VPN B
Site 2
CE – Customer Edge routers
Je v zákaznické síti
Poskytuje propojení k providerovi
IP routing mezi CE-PE
PE – Provider Edge routers
Na hraně provider sítě
Spravuje VRF tabulky
VRF table – VPN Route and Forwarding
Specifické routing tabulky pro každou VPN
Umožňuje „overlaping“ zákaznických sítí
Obsahuje naučené routy od:
CE – routing protokol
PE – naučené přes MPLS
P – Provider routers
Pouze LSR funkcionalita
VPN site –
Skupina zákaznických zařízení komunikujících mezi sebou.
Pro komunikaci mezi „sites“ je využita provider síť.
VPN site je mapován do VRF table
PE
PE
PE
CE
CE
CE
CE
P
P
10.1/16
10.1/16
10.1/16
10.1/16

## Slide 10: Aplikace – co a komu „nabízet“
Uvědomte si …
  Pro LAN nezvyklé příležitosti „služeb“
    IaaS…( FW, IPS apod…)
    Vliv na volbu prvků
  … ne všechny subjekty ke mne připojené jsou mé…
  … mám cíl transportovat služby KIVS a jiných resortních sítí (MPSV, MV…) = ověřit si jejich možnosti předání ( L2, L3…apod…)

## Slide 11: Agenda Juniper
MX/EX series – routers / switches
SRX series – firewalls / routers
JUNOS – společný OS

## Slide 12
Rozvíjen od 1998
  První „high-performance“ network operating system
10+ let inovace a vývoje
  Slučuje routing, switching, a security platformy
  Zjednodušuje operování a dodává operační „eleganci“
  Evolutionary architecture expands and extends to tomorrow
Splňuje vysoké požadavky zákazníků
  Top 40+ service providerů
  Výkonná síť pro enterprise a zákazníky z veřejného sektoru
JUNOS: Síla jednoho OS
Notes: 12

## Slide 13
Jeden OS
  Jednotný OS pro routing, switching, security, a servisy
  Nižší čas a náročnost pro naplánování rozvoj a správu
Jeden release
  Single release „vlak“ s přesným časovým plánem
  Předvídatelná „dodávka“ nových funkcí
  Jedna architektura
  Modularní software a interfaces pro integraci
  Highly dostupnost, bezpečnost a rozvoj sw
2Q08
9.1
1Q08
9.0
4Q07
8.5
Module X
API
JUNOS: Síla jednoho OS
Notes: 13

## Slide 14
Daemon n
Interfaces
Management
Kernel
Control Plane
Routing
Packet Forwarding
Physical Interfaces
Data Plane
Services
Open Management Interfaces
JUNOS: Architektura
Notes: 14

## Slide 15
MX/EX series – routers / switches
SRX series – firewalls / routers
JUNOS – společný OS
Agenda Juniper

## Slide 16
Gbps
0,65
7,0
SRX650
0,75
Towards High-End boxes
1,5
SRX100
SRX210
SRX240
SOHO, micro-branges
Small branges
Medium branges
Large branges, regional sites
SRX220
0,95
Branch boxes

## Slide 17
SRX100
System Bandwidth (IMIX)
SRX240
SRX210
Up to 750 Mbps (250Mbps)
Up to 1,5Gbps (500Mbps)
Up to 650Mbps (200Mbps)
Max. PIM
Max. inbuilt
High availability/
Redundancy
Power supply
SRX650
Up to 7 Gbps (2,5Gbps)
VRRP
Cluster (A/A; A/S)
VRRP
Cluster (A/A; A/S)
VRRP
Cluster (A/A; A/S)
VRRP
Processors
IPS
VPN performance
Concurent sessions
Antivirus
Network Location
SOHO, micro-branges
micro/small branges
small/medium branges
Large branges
regional sites
65Mbps
75Mbps
150Mbps
900Mbps
80Mbps
900Mbps
250Mbps
32k
64k
128k
512k
25Mbps
30Mbps
85Mbps
350Mbps
No
8xFE
1xPIM
2xGE + 6xFE
4xPIM
16xGE
8xGPIM
4xGE
2xPIM
8xGE
small branges
Up to 950 Mbps (300Mbps)
100Mbps
SRX220
100Mbps
60Mbps
96k
35Mbps
VRRP
Cluster (A/A; A/S)
Branch boxes
Notes: Acceleration:
Compression and Caching
TCP Acceleration
Application- and Protocol-specific Acceleration

## Slide 18
Gbps
20,0
120,0
SRX5800
30,0
Branch boxes continuation
60,0
SRX5600
SRX3600
SRX3400
3U, 4+3 CFMs, 8+4 GE, 2 REs, 1SFB 1+1 PS, 20/6/6 Gbps (FW/VPN/IDP), 1M sessions, 175 kcps, [10k tunnels]
5U, 6+6 CFMs, 8+4 GE, 2 REs, 2+2 PS, 30/10/10 Gbps (FW/VPN/IDP), 2M sessions, 175 kcps, [20k tunnels]
8U, 6 slots, 2 REs, 1+1 SCB, 2+2 PS, 60/15/[15] Gbps, 4M [8M] sessions, 350 kcps, [100k tunnels]
16U, 12 slots, 2 REs, 2+1 SCB, 2+2 AC, 3+1 DC, 120/30/[30] Gbps, 4M [8M] sessions, 350 kcps, [100k tunnels]
CFMs - Common Form-factor Module
For NPC(Network Procesor Card), SPC(service Procesor Card), IOC
3U, 2 CFMs, 1 NSPC, 1 REs, 1+1 PS, 10/2/62Gbps (FW/VPN/IDP), 1M sessions, 45 kcps, [10k tunnels]
SRX1400
Centralní boxy

## Slide 19
MX/EX series – routers / switches
SRX series – firewalls / routers
JUNOS – společný OS
Agenda Juniper

## Slide 20
Medium provider Edge / Core
Gbps
240
960
MX240
MX480
MX960
Small provider Edge
480
100 Gig Ready
Large provider Edge / Core
Access; core switch / router
Core switch / router
80
MX80
High density 1GE, 10GE
Routery Juniper - MX

## Slide 21
MX240
System Bandwidth
Network Location
MX960
MX480
480 Gbps
960 Gbps
240 Gbps
DPC – Dense Port Concentrator (contains Packet Forwarding Engine & physical Interfaces) – Ethernet ports support
Density Sweet Spot
Max. DPC (slots) / ports
Maximum speed
Redundancy
3 / 120xGE (12x10GE)
from 1 GE to 10 GE
up to 48 x 10Gbps
from 1 GE to 10 GE
from 1 GE to 10 GE
100Gb ready
MAC addresses
Yes (2x DPC slots for control redundancy
Yes
Yes (11x DPC slot for switch fabric redundancy)
Chassis per rack
9
6
3
1 million
1 million
1 million
6 / 240xGE (24x10GE)
12 / 480xGE (48x10GE)
up to 96 x 10Gbps
up to 192 x 10Gbps
x2
Small provider Eth. Edge
Medium/ Large provider Eth. Edge
Large provider Eth. Edge
Access Aggregation switch
Core switch
Access Aggregation / Core switch
FPC – Flexible PIC Concentrator (contains Packet Forwarding Engine)
PIC – Physical Interface Concentrator (contains physical interfaces)
Max. FPC / PICs
1/ 2
3 / 6
6 / 12
Multiservice ports support
x2
MPC – Modular Port Concentrator (contains Packet Forwarding Engine) – Ethernet ports support
MIC – Modular Interface Card (contains physical interfaces)
Max. MPC (slots) / ports
3 / 120xGE (24x10GE)
MX80
80 Gbps
Power & cooling
NA
NA
inbuild with 2x MIC
from 1 GE to 10 GE
Small provider Eth. Edge and PoP
Access Aggregation switch
256k
up to 8 x 10Gbps
24
6 / 240xGE (48x10GE)
12 / 480xGE (96x10GE)
Routery Juniper - MX

## Slide 22
Medium density Environment / 10GE
Up to 0,136
Up to
6,2
EX3200
EX4200
Low density Environment
Large density Environment / 10GE
Ethernet CE / CPE / LAN
Data center aggr. / LAN / Metro aggr.
EX4200
Virtual chassis
Tbps
100 Gig Ready
EX8200
8208/
8216
& Virtual chassis
Up to 10xEX4200
EX2500
0,104
EX2200
EX4500
Virtual chassis
Can be stacked together
Up to 10xEX4500
Up to 0,136
Switche Juniper - EX

## Slide 23
EX3200
System Bandwidth
Network Location
EX4500
StandAlone
EX4200
StandAlone
88 / 136 Gbps
Design/
slots/
ports
Redundancy
Pizza box
48GbE BTx, PoE
24GbE BTx, PoE
+ 4xGbE or 2x10GbE
Access, Ethernet CE
Access Aggregation switch; CE/CPE
Demarcation/Datacenter switch
Low density Environment
Low/Medium density Environment
High density Environment
Pizza box
48GbE BTx, PoE
GbE BTx,Fx, PoE
+ 4xGbE or 2x10GbE
Not redundant
Redundant PS, FANs
Redundant PS, FANs
Maximum speed
from 10Mbps to 10Gbps
from 10Mbps to 10Gbps
from 1Gbp to 10Gbps
88 / 136 Gbps
EX2200
Access, Ethernet CE
Low density Environment
56 / 104 Gbps
Pizza box
48GbE BTx,PoE
24GbE BTx,PoE
+ 4xGbE
from 10Mbps to 1Gbps
Not redundant
Redundant PS, FANs
EX2500
Low density Environment
10GE aggregation
240 Gbps
10Gbps
Pizza box
48 10GE (SFP+)
„Stand Alone“ řešení
480 Gbps
2U Pizza box
40x SFPP
+ 4xSFPP or 4xXFP

## Slide 24
System Bandwidth
Network Location
EX4200
Virtual chassis
Virtual chassis
Up to 10x 4200
Variety combinations
Design/
slots/
ports
Redundancy
Stackable via 128Gbps virtual backplane extendable by 10GbE uplinks
Demarcation/Datacenter switch
EX8208/8216
Chassis based
3,2 / 6,4 Tbps
Medium/High density Environment
High density Environment
Datacenter / aggregation switch
Chassis based/
8/16 slots
Modules: 8x 10GbE
48x 1GbE
Virtual chassis works like real
One box master RE,
One as backup RE
Other boxes like line cards
Fully redundant chassis concept,
Distributed PFE
Maximum speed
from 1Gbps to 10Gbps
from 10Mbps to 10Gbps
from 100Mbps to 10Gbps
100Gb ready
„Chassis“ řešení
High density Environment
Datacenter / aggregation switch
EX4500
Virtual chassis
Stackable via 128Gbps virtual backplane to EX4200extendable
Stackable via optical virtual backplane & 10GE ports
Stacking details


